## Slide 1
Air Quality Sensor Calibration Dashboard
A reproducible Python workflow for noisy environmental sensor data
Python, Streamlit, pandas, Plotly, scikit-learn
UCI Air Quality Chemical Multisensor Dataset
Regression-based calibration against certified reference measurements
Scientific data analysis and software engineering portfolio project
1
Project scope: data cleaning -> analysis -> modelling -> documentation
Speaker note: This project analyses real air-quality sensor data and builds a reproducible workflow for cleaning, exploration, and regression modelling.

## Slide 2
Problem Context
Field-deployed chemical sensors produce noisy signals
Certified analyzers provide reliable reference measurements but are expensive
Sensor readings can be affected by missing values, humidity, cross-sensitivity, and drift
Goal: estimate gas concentrations from sensor responses in a reproducible workflow
2
Sensor device signals compared with certified analyzer targets
Speaker note: The challenge is not only model training. The important part is handling imperfect scientific data and documenting assumptions.
Air Quality Sensor Calibration Dashboard | Python scientific data workflow

## Slide 3
Dataset Overview
9,357 cleaned hourly observations after loading and empty-row removal
Urban Italian field deployment from March 2004 to April 2005
`GT` columns: certified reference analyzer concentrations
`PT08...` columns: raw metal oxide sensor responses, not certified concentrations
Meteorological covariates: temperature, relative humidity, absolute humidity
3
Data dictionary: timestamp, GT targets, PT08 sensors, meteorology
Speaker note: A key distinction is GT versus PT08: GT is ground truth reference measurement, PT08 is a sensor response signal.
Air Quality Sensor Calibration Dashboard | Python scientific data workflow

## Slide 4
Data Cleaning and Reproducibility
Parse semicolon-separated CSV with European decimal commas
Combine `Date` and `Time` into a proper timestamp
Convert `-200` sentinel values into `NaN`
Keep measurement columns as numeric `float64` values
Centralize loading logic in `src/utils/data_loader.py`
4
Raw CSV -> validated timestamped numeric dataset
Speaker note: The -200 sentinel must not be treated as a real low pollutant value. It is an invalid measurement marker.
Air Quality Sensor Calibration Dashboard | Python scientific data workflow

## Slide 5
Exploratory Data Analysis
Variable type distribution and data dictionary
Missing-value analysis and monthly missingness
Sensor versus reference analyzer scatter plots
Pearson and Spearman correlation matrices
p-values, adjacency matrix, and filtered correlation network graph
5
Dashboard pages: Data Overview and Sensor Analysis
Speaker note: EDA is used to understand data quality, sensor-target relationships, and possible sources of noise before modelling.
Air Quality Sensor Calibration Dashboard | Python scientific data workflow

## Slide 6
Sensor-Reference Relationship Analysis
Compare raw sensor responses with certified reference targets
Example: `PT08.S2(NMHC)` versus `C6H6(GT)`
Strong relationships suggest useful calibration signals
Weak or unstable relationships may indicate noise, cross-sensitivity, or drift
Network graph keeps edges using correlation threshold and p-value alpha
6
Correlation matrix -> adjacency matrix -> network graph
Speaker note: The network graph is undirected. Correlation is diagnostic; it does not prove causal direction.
Air Quality Sensor Calibration Dashboard | Python scientific data workflow

## Slide 7
Machine Learning Workflow
Task: tabular regression, not classification
Targets: `CO(GT)`, `C6H6(GT)`, `NOx(GT)`, `NO2(GT)`
Features: sensor responses, meteorological variables, temporal features
Other `GT` columns excluded to reduce target leakage
Chronological holdout split and `TimeSeriesSplit` cross-validation
7
Features -> scikit-learn pipelines -> regression metrics
Speaker note: Excluding other GT columns keeps the task closer to sensor calibration instead of score optimization through leaked reference measurements.
Air Quality Sensor Calibration Dashboard | Python scientific data workflow

## Slide 8
Models and Evaluation
`DummyRegressor`: median baseline
`Ridge`: regularized linear model with `StandardScaler`
`RandomForestRegressor`: non-linear tree ensemble without scaling
`GradientBoostingRegressor`: stronger non-linear baseline without scaling
Metrics: MAE, RMSE, R2
8
Baseline vs linear model vs tree ensembles
Speaker note: Standardization is used only for Ridge because linear models are scale-sensitive. Tree models do not require min-max normalization.
Air Quality Sensor Calibration Dashboard | Python scientific data workflow

## Slide 9
Software Engineering Architecture
Streamlit UI separated from reusable Python logic
`src/utils`: data loading, preprocessing, analysis, metadata
`src/models`: regression pipelines and evaluation
`tests`: automated tests for core behaviour
`docs`: workflow, architecture, notebooks, Sphinx API documentation
9
UI layer -> analysis modules -> ML modules -> dataset
Speaker note: The dashboard is the interface, but the reusable code lives in testable modules. This matters for scientific software maintainability.
Air Quality Sensor Calibration Dashboard | Python scientific data workflow

## Slide 10
Limitations and Future Work
Current limits: no explicit drift correction, no uncertainty estimates, no real-time ingestion
Not a regulatory air-quality certification system
Future: PostgreSQL database and API connected to sensor streams
Future: drift monitoring, prediction intervals, model versioning
Future: scheduled data-quality checks and operational monitoring
10
Baseline today -> monitored scientific data platform tomorrow
Speaker note: The honest positioning is a reproducible baseline workflow. The next step is moving from static historical data to monitored sensor pipelines.
Air Quality Sensor Calibration Dashboard | Python scientific data workflow